## 2018 to 2025
sampled before 3" and 1" rain on 5 July weekend
|  |  | WHD | WHD | WHD |  | WHD | WHD | WHD |  | WHD | WHD | WHD |  | WHD | WHD | WHD | WHD | WHD | WHD | WHD | WHD | WHD | WHD | WHD | WHD | WHD | WHD | WHD | WHD
|  |  | 2025-07-02 | 2025-07-02 | 2025-07-02 |  | 2024-10-07 | 2024-10-07 | 2024-10-07 |  | 2023-06-27 | 2023-06-27 | 2023-06-27 |  | 2022-06-21 | 2022-06-21 | 2022-06-21 | 2021-07-09 | 2021-07-09 | 2021-07-09 | 6/18/2020 | 6/18/2020 | 6/18/2020 | 2019-05-31 | 2019-05-31 | 2019-05-31 | 2018-06-10 | 2018-06-10 | 2018-07-09 | 2018-07-09
Chemical | Test Lab Detection Limit | Test Lab Suggested Limits | Blair Ridge inflow stream area | HOA Dock | Out Flow | 2025 comments | Blair Ridge inflow stream area | HOA Dock | Out Flow | 2024 comments | NW Inlet no flow | HOA Dock | Out Flow | 2023 comments | NW Inlet * | T J Dock | Out Flow | NW Inlet * | WHD Dock | Out Flow | NW Inlet | Dock | Out Flow | NW Inlet | Street Inlet | Out Flow | NW Inlet | Out Flow | NW Inlet | Out Flow
Nitrate, mg/Liter | 0.1 | 10 | 7.09 | 11.5 | 7.88 | high | <0.1 | <0.1 | < 0.1 | ok | not meas. | <0.1 | < 0.1 | much less than 2022 | 20.5 | 10.3 | 10.3 | 3.08 | 2.71 | 2.99 | 19.1 | 11.1 | 11.3 | 1.04 | 0.572 | 6.16 | 31.1 | 0.47 | 16 | 9
Phosphorous, mg/Liter | 0.1 | NA | <0.1 | <0.1 | <0.1 | ok | <0.1 | <0.1 | <0.1 | ok | not meas. | <0.1 | 0.108 | dry, low flow in | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | < 0.1 | < 0.1 | < 0.1 | 0.554 | <0.1 | <0.1 | 0.18 | 0.11 | <0.1 | < 0.1
Total Coliform, most probable number, MPN per 100 mL | 1000 | 17000 | > 2400 | >2400 | > 2400 |  | > 2400 | >2400 | > 2400 | usual for no rain; higher with rain, wash in | not meas. | >2400 | > 2400 | geese, beavers, fish | >2400 | >2400 | >2400 | 2400 | 5200 | 3100 | 34100 | 866 | 13400 | 3000 | 18700 | 4100 | 68700 | 32800 | 7330 | 6700
E. Coli, Most Probable Number, MPN per 100 mL | 1000 | 200 | 1300 | 38 | 86 | animals | 50 | 33 | 370 | some areas are high | not meas. | 3.1 | 4.1 | geese, beavers, fish | 490 | 2 | 5.2 | 1 | 1 | 1000 | 219 | 6.3 | 8.6 | 1000 | 2000 | 5.2 | 1340 | 410 | 186 | 29.9
pH | 0.1 | 7 to 8.5 | 8.4 | 7.8 | 8.4 | Battery Acid 1; lemon juice 3; pure water 7; baking soda 9; soap 10; bleach 12 | 8.2 | 7.9 | 8.4 | Battery Acid 1; lemon juice 3; pure water 7 baking soda 9; soap 10; bleach 12 | not meas. | 9.4 | 9.7 | Battery Acid 1; Baking Soda 9; Household Ammonia, 12 | not measured | not meas. | not meas. | 10 | 10.1 | 10.1 | 8 | 8.7 | 8.7 | 7.6 | 8.4 | 8.5 | 8 | 8.5 | 7.8 | 8.8
Rain |  |  | 0" | 0" | 0" |  | 0" | 0" | 0" |  | 0" | 0" | 0" |  | 0" | 0" | 0" | 0" | 0" | 0" | 0" >5days | 0" >5days | 0" >5days | 0" 3 days | 0" 3 days | 0" 3 days | 2", 24 hr | 2" 24 hr | 1" 4 days | 1" 4 days
[15 empty] | * 20% flow |  |  | * no flow from NW pipe
Analysis by: Eurofins TestAmerica,
Cedar Falls, Iowa